## Standards
AOB Nitrosospira multiformis ATCC 25196 | prepared 2/23/18 |  | AOA Nitrosopumilus sp. AR | prepared 2/23/18 | N. Nitrosa | prepared 3/6/18 | N. Nitrificans | prepared 3/6/18 | N. Inopinata | prepared 3/6/18
Dilution | Copies |  | Dilution | Copies | Dilution | Copies | Dilution | Copies | Dilution | Copies
x | 88400000000 |  | x | 118000000000 | x | 17400000000 | x | 23680000000 | x | 13920000000
x | 8840000000 |  | x | 11800000000 | x | 1740000000 | x | 2368000000 | x | 1392000000
x | 884000000 |  | x | 1180000000 | x | 174000000 | x | 236800000 | x | 139200000
1 | 88400000 |  | x | 118000000 | 1 | 17400000 | 1 | 23680000 | 1 | 13920000
2 | 8840000 |  | 1 | 11800000 | 2 | 1740000 | 2 | 2368000 | 2 | 1392000
3 | 884000 |  | 2 | 1180000 | 3 | 174000 | 3 | 236800 | 3 | 139200
4 | 88400 |  | 3 | 118000 | 4 | 17400 | 4 | 23680 | 4 | 13920
5 | 8840 |  | 4 | 11800 | 5 | 1740 | 5 | 2368 | 5 | 1392
6 | 884 |  | 5 | 1180 | 6 | 174 | 6 | 236.8 | 6 | 139.2
7 | 88.4 |  | 6 | 118 | 7 | 17.4 | 7 | 23.68 | 7 | 13.92
copies/uL | 221000000000 |  | 7 | 11.8 | copies/uL | 43500000000 | copies/uL | 59200000000 | copies/uL | 34800000000
template (uL) | 4 |  | copies/uL | 295000000000 | template (uL) | 4 | template (uL) | 4 | template (uL) | 4
copies | 884000000000 |  | template (uL) | 4 | copies | 174000000000 | copies | 236800000000 | copies | 139200000000
|  |  | copies | 1180000000000
ng/ul | 108 |  |  |  | ng/ul | 29.1 | ng/ul | 30 | ng/ul | 17.6
size amoA | 254794.26 |  | ng/ul | 118 | size amoA | 262168 | size amoA | 265023.19 | size amoA | 264288.09
size M13 | 39925.78 |  | size amoA | 201117.69 | size M13 | 39925.78 | size M13 | 39925.78 | size M13 | 39925.78
|  |  | size M13 | 39925.78
N. Nitrosa | prepared 6/2016 |  | N. Nitrificans | prepared 6/2016 | N. Inopinata | prepared 6/2016 | Coma CladeB | prepared 9/20/17 | 16S rRNA | Obtained from Ben Peterson
Dilution | Copies |  | Dilution | Copies | Dilution | Copies | Dilution | Copies | Dilution | Copies
x | 39709909207.3705 |  | x | 45183491782.5261 | x | 32544210712.3981 | x | 32488671674.2306 | X | 593124642.6529
x | 3970990920.737 |  | x | 4518349178.2526 | x | 3254421071.2398 | x | 3248867167.4231 | 1 | 59312464.2653
x | 397099092.0737 |  | x | 451834917.8253 | x | 325442107.124 | x | 324886716.7423 | 2 | 5931246.4265
1 | 39709909.2074 |  | 1 | 45183491.7825 | 1 | 32544210.7124 | 1 | 32488671.6742 | 3 | 593124.6427
2 | 3970990.9207 |  | 2 | 4518349.1783 | 2 | 3254421.0712 | 2 | 3248867.1674 | 4 | 59312.4643
3 | 397099.0921 |  | 3 | 451834.9178 | 3 | 325442.1071 | 3 | 324886.7167 | 5 | 5931.2464
4 | 39709.9092 |  | 4 | 45183.4918 | 4 | 32544.2107 | 4 | 32488.6717 | 6 | 593.1246
5 | 3970.9909 |  | 5 | 4518.3492 | 5 | 3254.4211 | 5 | 3248.8672 | 7 | 59.3125
6 | 397.0991 |  | 6 | 451.8349 | 6 | 325.4421 | 6 | 324.8867 | X | 5.9312
7 | 39.7099 |  | 7 | 45.1835 | 7 | 32.5442 | 7 | 32.4887 | X | 0.59312
copies/uL | 99274773018.4262 |  | copies/uL | 112958729456.3153 | copies/uL | 81360526780.9952 | copies/uL | 81221679185.5764 | copies/uL | 1186249285.3059
template (uL) | 4 |  | template (uL) | 4 | template (uL) | 4 | template (uL) | 4 | template (uL) | 5
copies | 397099092073.7047 |  | copies | 451834917825.2613 | copies | 325442107123.981 | copies | 324886716742.3056 | copies | 5931246426.5294
ng/ul | 49.8 |  | ng/ul | 57.2 | ng/ul | 41.1 | ng/ul | 40.5 | ng/ul | 1.93
size amoA | 262167.72 |  | size amoA | 265023.19 | size amoA | 264288.09 | size amoA | 260359.47 | size 16S segment
size M13 | 39925.78 |  | size M13 | 39925.78 | size M13 | 39925.78 | size M13 | 39925.78 | size M13
| base pairs |  | base pairs |  | base pairs |  | base pairs |  | base pairs
amoA1 | 843 | 260780.31 | 843 | 265023.19 | 855 | 264288.09 | 842 | 260359.47 | 1484
amoA2 | 852 | 263555.13
Clade | IA prepared 2/6/19 |  | Clade | IIA prepared 2/6/19 | Clade | IIC prepared 2/6/19
Dilution | Copies ppk |  | Dilution | Copies ppk | Dilution | Copies ppk
x | 10903187392.98 |  | x | 11526226672.5788 | x | 9158677410.1032
x | 1090318739.298 |  | x | 1152622667.2579 | x | 915867741.0103
x | 109031873.9298 |  | x | 115262266.7258 | 7 | 91586774.101
7 | 10903187.393 |  | 7 | 11526226.6726 | 6 | 9158677.4101
6 | 1090318.7393 |  | 6 | 1152622.6673 | 5 | 915867.741
5 | 109031.8739 |  | 5 | 115262.2667 | 4 | 91586.7741
4 | 10903.1874 |  | 4 | 11526.2267 | 3 | 9158.6774
3 | 1090.3187 |  | 3 | 1152.6227 | 2 | 915.8677
2 | 109.0319 |  | 2 | 115.2623 | 1 | 91.5868
1 | 10.9032 |  | 1 | 11.5262 | x | 9.1587
copies/uL | 27257968482.4499 |  | copies/uL | 28815566681.4471 | copies/uL | 22896693525.2579
template (uL) | 4 |  | template (uL) | 4 | template (uL) | 4
copies | 109031873929.7997 |  | copies | 115262266725.7883 | copies | 91586774101.0318
ng/ul | 17.5 |  | ng/ul | 18.5 | ng/ul | 14.7
size ppk | 346704.18 |  | size ppk | 346704.18 | size ppk | 346704.18
size M13 | 39925.78 |  | size M13 | 39925.78 | size M13 | 39925.78
N. Nitrosa | prepared 2/6/19 |  | N. Nitrificans | prepared 2/6/19 | N. Inopinata | prepared 2/6/19
Dilution | Copies |  | Dilution | Copies | Dilution | Copies
x | 5474061727.6593 |  | x | 16272376411.1895 | x | 13777841031.5262
x | 547406172.7659 |  | x | 1627237641.1189 | x | 1377784103.1526
7 | 54740617.2766 |  | x | 162723764.1119 | x | 137778410.3153
6 | 5474061.7277 |  | 7 | 16272376.4112 | 7 | 13777841.0315
5 | 547406.1728 |  | 6 | 1627237.6411 | 6 | 1377784.1032
4 | 54740.6173 |  | 5 | 162723.7641 | 5 | 137778.4103
3 | 5474.0617 |  | 4 | 16272.3764 | 4 | 13777.841
2 | 547.4062 |  | 3 | 1627.2376 | 3 | 1377.7841
1 | 54.7406 |  | 2 | 162.7238 | 2 | 137.7784
x | 5.4741 |  | 1 | 16.2724 | 1 | 13.7778
copies/uL | 13685154319.1482 |  | copies/uL | 40680941027.9737 | copies/uL | 34444602578.8155
template (uL) | 4 |  | template (uL) | 4 | template (uL) | 4
copies | 54740617276.5929 |  | copies | 162723764111.8948 | copies | 137778410315.262
ng/ul | 6.865 |  | ng/ul | 20.6 | ng/ul | 17.4
size amoA | 262168 |  | size amoA | 265023.19 | size amoA | 264288.09
size M13 | 39925.78 |  | size M13 | 39925.78 | size M13 | 39925.78

## Calibrations
2/27/2019 ppk Clade IA
Content | Cq |  |  | Cq ave | SQ (copies) | Log(SQ) | dCq | CI | SD | 95% CI
Std-7 | 16.93 | 16.53 | 16.8 | 16.7533 | 10903187.393 | 7.0376 |  | 0.2309 | 0.20404 | 16.557
Std-6 | 18.88 | 18.71 | 18.88 | 18.8233 | 1090318.7393 | 6.0376 | 2.07 | 0.11107 | 0.09815 | 18.727
Std-5 | 22.98 | 22.76 | 22.82 | 22.8533 | 109031.8739 | 5.0376 | 4.03 | 0.12869 | 0.11372 | 22.766
Std-4 | 26.56 | 26.71 | 26.68 | 26.65 | 10903.1874 | 4.0376 | 3.7967 | 0.089818 | 0.079373 | 26.572
Std-3 | 30.35 | 30.51 | 30.67 | 30.51 | 1090.3187 | 3.0376 | 3.86 | 0.18106 | 0.16 | 30.366
Std-2 | 34.07 | 34.84 | 34.58 | 34.4967 | 109.0319 | 2.0376 | 3.9867 | 0.44326 | 0.39171 | 34.121
Std-1 | 34.68 |  | 40 | 37.34 | 10.9032 | 1.0376 | 2.8433 | 4.2569 | 3.7618 | 34.946
NTC | 45 | 45 | 45 | 45 | 0 |  |  | 0 | 0 | 45
[9 empty] | copies/rxn | copies/ngDNA
[8 empty] | Limit of Blank | 0.11336 | 0.0028341
[8 empty] | Limit of Detection | 86.3151 | 2.1579
[8 empty] | Limit of Quantification | 141.585 | 3.5396
[8 empty] | R2 (1) | 0.99358
[8 empty] | R2 (2) | 0.99331
[8 empty] | R2 (3) | 0.99309
[8 empty] | Average | 0.99333
[8 empty] | Stdev | 0.00024471
[8 empty] | y-int 1 | 40.9974
[8 empty] | y-int 2 | 41.9805
[8 empty] | y-int 3 | 41.683
[8 empty] | Average | 41.5536
[8 empty] | Stdev | 0.50415
[8 empty] | Slope 1 | -3.534
|  | E1 | E2 | E3 | stdev |  |  | Slope 2 | -3.74
E | 88.08% | 91.85% | 85.09% | 87.57% | 3.421% |  |  | Slope 3 | -3.6609
[8 empty] | Average | -3.645
[8 empty] | Stdev | 0.10392
2/27/2019 ppk Clade IIA
Content | Cq |  |  | Cq ave | SQ (copies) | Log(SQ) | dCq | CI | SD | 95% CI
Std-7 | 13.25 | 13.16 | 13.36 | 13.2567 | 11526226.6726 | 7.0617 |  | 0.11335 | 0.10017 | 13.169
Std-6 | 16.73 | 16.66 | 16.63 | 16.6733 | 1152622.6673 | 6.0617 | 3.4167 | 0.05807 | 0.051316 | 16.633
Std-5 | 20.18 | 20.02 | 19.86 | 20.02 | 115262.2667 | 5.0617 | 3.3467 | 0.18106 | 0.16 | 19.876
Std-4 | 23.48 | 23.54 | 23.35 | 23.4567 | 11526.2267 | 4.0617 | 3.4367 | 0.10991 | 0.097125 | 23.363
Std-3 | 26.75 | 26.53 | 26.7 | 26.66 | 1152.6227 | 3.0617 | 3.2033 | 0.1305 | 0.11533 | 26.547
Std-2 | 29.59 | 29.49 | 30.02 | 29.7 | 115.2623 | 2.0617 | 3.04 | 0.31866 | 0.2816 | 29.5
Std-1 | 30.77 | 30.75 | 29.79 | 30.4367 | 11.5262 | 1.0617 | 0.73667 | 0.63383 | 0.56012 | 29.886
NTC | 45 | 45 | 45 | 45 | 0 |  |  | 0 | 0 | 45
[9 empty] | copies/rxn | copies/ngDNA
[8 empty] | Limit of Blank | 0.0030629 | 7.6573e-05
[8 empty] | Limit of Detection | 78.5134 | 1.9628
[8 empty] | Limit of Quantification | 171.4261 | 4.2857
[8 empty] | R2 (1) | 0.99893
[8 empty] | R2 (2) | 0.99872
[8 empty] | R2 (3) | 0.99989
[8 empty] | Average | 0.99918
[8 empty] | Stdev | 0.00062613
[8 empty] | y-int 1 | 36.6596
[8 empty] | y-int 2 | 36.5264
[8 empty] | y-int 3 | 36.9024
[8 empty] | Average | 36.6961
[8 empty] | Stdev | 0.19065
[8 empty] | Slope 1 | -3.2874
|  | E1 | E2 | E3 | stdev |  |  | Slope 2 | -3.2794
E | 100.8% | 101.5% | 101.8% | 99.13% | 1.453% |  |  | Slope 3 | -3.3429
[8 empty] | Average | -3.3032
[8 empty] | Stdev | 0.034543
2/27/2019 ppk Clade IIC
Content | Cq |  |  | Cq ave | SQ (copies) | Log(SQ) | dCq | CI | SD | 95% CI
Std-7 | 9.74 | 9.73 | 9.66 | 9.71 | 91586774.101 | 7.9618 |  | 0.049326 | 0.043589 | 9.667
Std-6 | 13.01 | 12.95 | 13.13 | 13.03 | 9158677.4101 | 6.9618 | 3.32 | 0.10371 | 0.091652 | 12.956
Std-5 | 16.64 | 16.27 | 16.63 | 16.5133 | 915867.741 | 5.9618 | 3.4833 | 0.23853 | 0.21079 | 16.306
Std-4 |  |  |  |  | 91586.7741 |  | -16.5133
Std-3 | 24.04 | 24.08 | 24.07 | 24.0633 | 9158.6774 | 3.9618 | 24.0633 | 0.023556 | 0.020817 | 24.043
Std-2 | 27.36 | 27.16 | 27.25 | 27.2567 | 915.8677 | 2.9618 | 3.1933 | 0.11335 | 0.10017 | 27.169
Std-1 | 26.97 | 30.16 | 31.85 | 29.66 | 91.5868 | 1.9618 | 2.4033 | 2.8043 | 2.4781 | 27.289
NTC | 32.79 | 33.84 |  | 33.315 | 0 |  |  | 0.84017 | 0.74246 | 32.8425
[9 empty] | copies/rxn | copies/ngDNA
[8 empty] | Limit of Blank | 16.6622 | 0.41655
[8 empty] | Limit of Detection | 713.5533 | 17.8388
[8 empty] | Limit of Quantification | 816.4814 | 20.412
[8 empty] | R2 (1) | 0.97039
[8 empty] | R2 (2) | 0.99836
[8 empty] | R2 (3) | 0.99865
[8 empty] | Average | 0.98913
[8 empty] | Stdev | 0.016235
[8 empty] | y-int 1 | 35.1838
[8 empty] | y-int 2 | 37.3397
[8 empty] | y-int 3 | 38.5512
[8 empty] | Average | 37.0249
[8 empty] | Stdev | 1.7056
[8 empty] | Slope 1 | -3.1354
|  | E1 | E2 | E3 | stdev |  |  | Slope 2 | -3.4829
E | 95.94% | 108.4% | 93.7% | 87.86% | 10.6% |  |  | Slope 3 | -3.6518
[8 empty] | Average | -3.4233
[8 empty] | Stdev | 0.26331

## Cq data
4 | uL | <-- Template Volume |  | ppk IA |  |  | 2019-02-27 | <- Date
Moya-2019 |  |  | <- Assay Type
Reactor Sample ID | Date | Simple ID | [DNA] ng/uL | Dilution Factor | Cq |  |  | Starting Quantity (SQ) |  |  | Sq ave | SQ mean (dilution) | Copies/ng DNA | Sq std dev
DNA 61826 B3 t13 | ? | 26 | 10 | 1 | 15.29 | 15.24 | 15.14 | 16049973.6461 | 16565018.4514 | 17645221.9152 | 16753404.6709 | 16753404.6709 | 418835.1168 | 20353.4593
DNA 61842 B4 t13 | ? | 42 | 10 | 1 | 15.59 | 15.58 | 15.5 | 13279102.4522 | 13363254.5668 | 14055956.4282 | 13566104.4824 | 13566104.4824 | 339152.6121 | 10657.6437
DNA 61794 B1 t13 | ? | 94 | 10 | 1 | 15.79 | 15.8 | 15.75 | 11703030.0531 | 11629332.832 | 12002518.9565 | 11778293.9472 | 11778293.9472 | 294457.3487 | 4941.2461
4 | uL | <-- Template Volume |  | ppk IIA |  |  | 2019-02-27 | <- Date
Moya-2019 |  |  | <- Assay Type
Reactor Sample ID | Date | Simple ID | [DNA] ng/uL | Dilution Factor | Cq |  |  | Starting Quantity (SQ) |  |  | Sq ave | SQ mean (dilution) | Copies/ng DNA | Sq std dev
DNA 61826 B3 t13 | ? | 26 | 10 | 1 | 18.57 | 18.49 | 18.53 | 307169.5466 | 324785.6381 | 315854.804 | 315936.6629 | 315936.6629 | 7898.4166 | 220.2083
DNA 61842 B4 t13 | ? | 42 | 10 | 1 | 18.32 | 18.24 | 18.46 | 365646.5406 | 386616.2721 | 331649.0931 | 361303.9686 | 361303.9686 | 9032.5992 | 693.4926
DNA 61794 B1 t13 | ? | 94 | 10 | 1 | 18.84 | 18.65 | 18.6 | 254472.1034 | 290508.9367 | 300812.6941 | 281931.2447 | 281931.2447 | 7048.2811 | 608.2995
4 | uL | <-- Template Volume |  | ppk IIC |  |  | 2019-02-27 | <- Date
Moya-2019 |  |  | <- Assay Type
Reactor Sample ID | Date | Simple ID | [DNA] ng/uL | Dilution Factor | Cq |  |  | Starting Quantity (SQ) |  |  | Sq ave | SQ mean (dilution) | Copies/ng DNA | Sq std dev
DNA 61826 B3 t13 | ? | 26 | 10 | 1 | 13.87 | 13.62 | 13.68 | 5805573.0773 | 6868680.7885 | 6597001.1023 | 6423751.656 | 6423751.656 | 160593.7914 | 13808.0825
DNA 61842 B4 t13 | ? | 42 | 10 | 1 | 14.14 | 13.92 | 14.05 | 4841440.5071 | 5613573.9552 | 5143571.3075 | 5199528.5899 | 5199528.5899 | 129988.2147 | 9727.4074
DNA 61794 B1 t13 | ? | 94 | 10 | 1 | 14.14 | 14.16 | 14.01 | 4841440.5071 | 4776748.1105 | 5283835.4348 | 4967341.3508 | 4967341.3508 | 124183.5338 | 6899.8485
Note on N3: Natalie Keene: (mean SQ/(vol of template, uL))/ng DNA
Note on N10: Natalie Keene: (mean SQ/(vol of template, uL))/ng DNA
Note on N17: Natalie Keene: (mean SQ/(vol of template, uL))/ng DNA

## Moya-20190227
Primers: | ppk clade IA, IIA, IIC |  | Plate Size | 96 | Total wells | 96
Experiment_ID: | Moya-2019 |  | Primers | 3 | Available wells | 0
Date: | 2019-02-27 |  | Blanks | 2 | 6
Ta (degC): | 64 |  | Standards | 7 | 63
|  |  | Samples | 3 | 27
Mastermix 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | blank | blank | blank | IA-sa1 | IA-sa1 | IA-sa1 | IIA-std 6 | IIA-std 6 | IIA-std 6 | IIC-std 4 | IIC-std 4 | IIC-std 4
B | IA-std 1 | IA-std 1 | IA-std 1 | IA-sa2 | IA-sa2 | IA-sa2 | IIA-std 7 | IIA-std 7 | IIA-std 7 | IIC-std 5 | IIC-std 5 | IIC-std 5
C | IA-std 2 | IA-std 2 | IA-std 2 | IA-sa3 | IA-sa3 | IA-sa3 | IIA-sa1 | IIA-sa1 | IIA-sa1 | IIC-std 6 | IIC-std 6 | IIC-std 6
D | IA-std 3 | IA-std 3 | IA-std 3 | IIA-std 1 | IIA-std 1 | IIA-std 1 | IIA-sa2 | IIA-sa2 | IIA-sa2 | IIC-std 7 | IIC-std 7 | IIC-std 7
E | IA-std 4 | IA-std 4 | IA-std 4 | IIA-std 2 | IIA-std 2 | IIA-std 2 | IIA-sa3 | IIA-sa3 | IIA-sa3 | IIC-sa1 | IIC-sa1 | IIC-sa1
F | IA-std 5 | IA-std 5 | IA-std 5 | IIA-std 3 | IIA-std 3 | IIA-std 3 | IIC-std 1 | IIC-std 1 | IIC-std 1 | IIC-sa2 | IIC-sa2 | IIC-sa2
G | IA-std 6 | IA-std 6 | IA-std 6 | IIA-std 4 | IIA-std 4 | IIA-std 4 | IIC-std 2 | IIC-std 2 | IIC-std 2 | IIC-sa3 | IIC-sa3 | IIC-sa3
H | IA-std 7 | IA-std 7 | IA-std 7 | IIA-std 5 | IIA-std 5 | IIA-std 5 | IIC-std 3 | IIC-std 3 | IIC-std 3 | blank | blank | blank
| Mastermix 1 |  |  | Mastermix 2 |  |  | Mastermix 3
PER MASTERMIX
Master Mix Ingredients and Volumes
Input | Initial Conc. | Final Conc. | Volume | x? no. cells | 33 | 36.3 | *Add 10% additional wells to master mix to have enough
SYBR Green |  |  | 10 | 363 | uL
primer1F (uM) | 10 | 0.4 | 0.8 | 29.04 | uL
primer2R (uM) | 10 | 0.4 | 0.8 | 29.04 | uL
Nuclease Free H20 |  |  | 4.4 | 159.72 | uL
|  |  | 16 | 580.8 | uL
*Make each individual master mix in a 2 mL tube |  |  |  | for IA, subtract water and substitute the extra primer set
1) Dilute DNA samples (e.g. 2.7 uL of DNA: 24.3 uL water) |  |  |  | 130.68
2) Prepara std dilution (27 uL water + 3 uL std) in serial dilutions
3) Prepare master mix
4) Fill the plate with master mix
5) Fill the plate with std/samples
* For multiple primer sets (IA, IC, ID), subtract water for extra primers added
Master w/o template | 16 | uL | Small tubes per row
V of template | 4 | uL | Small tubes per row |  |  | Number of primer sets -> | 3
[6 empty] | % error -> | 11.12
[6 empty] | Number of wells per sample + 10% for error-> | 10.0008
Qubit
Reactor Sample ID |  | Simple Samp ID | Initial DNA conc | VDNA | VDI | Norm Conc. (ng/uL) | Final Volume
DNA 61826 B3 t13 | 26 | sa1 | 205 | 1.9514 | 38.0518 | 10 | 40.0032
DNA 61842 B4 t13 | 42 | sa2 | 80.2 | 4.9879 | 35.0153 | 10 | 40.0032
DNA 61794 B1 t13 | 94 | sa3 | 87.8 | 4.5562 | 35.447 | 10 | 40.0032

## Plate Layout
Mastermix 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | blank | blank | blank | IA-sa1 | IA-sa1 | IA-sa1 | IIA-std 6 | IIA-std 6 | IIA-std 6 | IIC-std 4 | IIC-std 4 | IIC-std 4
B | IA-std 1 | IA-std 1 | IA-std 1 | IA-sa2 | IA-sa2 | IA-sa2 | IIA-std 7 | IIA-std 7 | IIA-std 7 | IIC-std 5 | IIC-std 5 | IIC-std 5
C | IA-std 2 | IA-std 2 | IA-std 2 | IA-sa3 | IA-sa3 | IA-sa3 | IIA-sa1 | IIA-sa1 | IIA-sa1 | IIC-std 6 | IIC-std 6 | IIC-std 6
D | IA-std 3 | IA-std 3 | IA-std 3 | IIA-std 1 | IIA-std 1 | IIA-std 1 | IIA-sa2 | IIA-sa2 | IIA-sa2 | IIC-std 7 | IIC-std 7 | IIC-std 7
E | IA-std 4 | IA-std 4 | IA-std 4 | IIA-std 2 | IIA-std 2 | IIA-std 2 | IIA-sa3 | IIA-sa3 | IIA-sa3 | IIC-sa1 | IIC-sa1 | IIC-sa1
F | IA-std 5 | IA-std 5 | IA-std 5 | IIA-std 3 | IIA-std 3 | IIA-std 3 | IIC-std 1 | IIC-std 1 | IIC-std 1 | IIC-sa2 | IIC-sa2 | IIC-sa2
G | IA-std 6 | IA-std 6 | IA-std 6 | IIA-std 4 | IIA-std 4 | IIA-std 4 | IIC-std 2 | IIC-std 2 | IIC-std 2 | IIC-sa3 | IIC-sa3 | IIC-sa3
H | IA-std 7 | IA-std 7 | IA-std 7 | IIA-std 5 | IIA-std 5 | IIA-std 5 | IIC-std 3 | IIC-std 3 | IIC-std 3 | blank | blank | blank
| Mastermix 1 |  |  | Mastermix 2 |  |  | Mastermix 3
Cq Values
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  |  |  | 15.29 | 15.24 | 15.14 | 16.73 | 16.66 | 16.63 | 23.45 | 22.69 | 22.69
B | 34.68 |  | 40 | 15.59 | 15.58 | 15.5 | 13.25 | 13.16 | 13.36 | 16.64 | 16.27 | 16.63
C | 34.07 | 34.84 | 34.58 | 15.79 | 15.8 | 15.75 | 18.57 | 18.49 | 18.53 | 13.01 | 12.95 | 13.13
D | 30.35 | 30.51 | 30.67 | 30.77 | 30.75 | 29.79 | 18.32 | 18.24 | 18.46 | 9.74 | 9.73 | 9.66
E | 26.56 | 26.71 | 26.68 | 29.59 | 29.49 | 30.02 | 18.84 | 18.65 | 18.6 | 13.87 | 13.62 | 13.68
F | 22.98 | 22.76 | 22.82 | 26.75 | 26.53 | 26.7 | 26.97 | 30.16 | 31.85 | 14.14 | 13.92 | 14.05
G | 18.88 | 18.71 | 18.88 | 23.48 | 23.54 | 23.35 | 27.36 | 27.16 | 27.25 | 14.14 | 14.16 | 14.01
H | 16.93 | 16.53 | 16.8 | 20.18 | 20.02 | 19.86 | 24.04 | 24.08 | 24.07 | 32.79 | 33.84
| Mastermix 1 |  |  | Mastermix 2 |  |  | Mastermix 3
Tm Values
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  |  |  | 84.44 | 84.4 | 84.36 | 88.27 | 88.36 | 88.47 | 87.31 | 86.8 | 87.44
B | 84.28 | 69.86 | 84.29 | 84.39 | 84.43 | 84.43 | 88.3 | 88.36 | 88.48 | 87.32 | 87.34 | 87.37
C | 84.24 | 84.17 | 84.02 | 84.44 | 84.44 | 84.47 | 87.14 | 87.18 | 87.31 | 87.33 | 87.36 | 87.39
D | 84.17 | 84.24 | 84.28 | 88.12 | 88.03 | 88.18 | 87.33 | 87.41 | 87.54 | 87.37 | 87.37 | 87.41
E | 84.27 | 84.29 | 84.3 | 88.25 | 88.1 | 88.24 | 87.33 | 87.37 | 87.49 | 85.73 | 85.64 | 85.72
F | 84.3 | 84.33 | 84.33 | 88.22 | 88.25 | 88.15 | 87.11 | 87.12 | 87.16 | 85.69 | 85.66 | 85.73
G | 84.34 | 84.34 | 84.34 | 88.26 | 88.3 | 88.31 | 87.04 | 87.16 | 87.24 | 85.72 | 85.73 | 85.76
H | 84.36 | 84.42 | 84.38 | 88.2 | 88.33 | 88.24 | 87.14 | 87.22 | 87.27 | 87.31 | 87.37
| Mastermix 1 |  |  | Mastermix 2 |  |  | Mastermix 3

## Cq
Experiment: 20190227_ppk_IA_IIA_IIC_Pancho Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Cp | Concentration | Standard | Status
TRUE | 65280 | A1 | Sample 1 |  |  | 0
TRUE | 65280 | A2 | Sample 2 |  |  | 0
TRUE | 65280 | A3 | Sample 3 |  |  | 0
TRUE | 255 | A4 | Sample 4 | 15.29 |  | 0
TRUE | 255 | A5 | Sample 5 | 15.24 |  | 0
TRUE | 255 | A6 | Sample 6 | 15.14 |  | 0
TRUE | 255 | A7 | Sample 7 | 16.73 |  | 0
TRUE | 255 | A8 | Sample 8 | 16.66 |  | 0
TRUE | 255 | A9 | Sample 9 | 16.63 |  | 0
TRUE | 255 | A10 | Sample 10 | 23.45 |  | 0
TRUE | 255 | A11 | Sample 11 | 22.69 |  | 0
TRUE | 255 | A12 | Sample 12 | 22.69 |  | 0
TRUE | 255 | B1 | Sample 13 | 34.68 |  | 0
TRUE | 65280 | B2 | Sample 14 |  |  | 0
TRUE | 255 | B3 | Sample 15 | 40 |  | 0 | > - Late Cp call (last five cycles) has higher uncertainty
TRUE | 255 | B4 | Sample 16 | 15.59 |  | 0
TRUE | 255 | B5 | Sample 17 | 15.58 |  | 0
TRUE | 255 | B6 | Sample 18 | 15.5 |  | 0
TRUE | 255 | B7 | Sample 19 | 13.25 |  | 0
TRUE | 255 | B8 | Sample 20 | 13.16 |  | 0
TRUE | 255 | B9 | Sample 21 | 13.36 |  | 0
TRUE | 255 | B10 | Sample 22 | 16.64 |  | 0
TRUE | 255 | B11 | Sample 23 | 16.27 |  | 0
TRUE | 255 | B12 | Sample 24 | 16.63 |  | 0
TRUE | 255 | C1 | Sample 25 | 34.07 |  | 0
TRUE | 255 | C2 | Sample 26 | 34.84 |  | 0
TRUE | 255 | C3 | Sample 27 | 34.58 |  | 0
TRUE | 255 | C4 | Sample 28 | 15.79 |  | 0
TRUE | 255 | C5 | Sample 29 | 15.8 |  | 0
TRUE | 255 | C6 | Sample 30 | 15.75 |  | 0
TRUE | 255 | C7 | Sample 31 | 18.57 |  | 0
TRUE | 255 | C8 | Sample 32 | 18.49 |  | 0
TRUE | 255 | C9 | Sample 33 | 18.53 |  | 0
TRUE | 255 | C10 | Sample 34 | 13.01 |  | 0
TRUE | 255 | C11 | Sample 35 | 12.95 |  | 0
TRUE | 255 | C12 | Sample 36 | 13.13 |  | 0
TRUE | 255 | D1 | Sample 37 | 30.35 |  | 0
TRUE | 255 | D2 | Sample 38 | 30.51 |  | 0
TRUE | 255 | D3 | Sample 39 | 30.67 |  | 0
TRUE | 255 | D4 | Sample 40 | 30.77 |  | 0
TRUE | 255 | D5 | Sample 41 | 30.75 |  | 0
TRUE | 255 | D6 | Sample 42 | 29.79 |  | 0
TRUE | 255 | D7 | Sample 43 | 18.32 |  | 0
TRUE | 255 | D8 | Sample 44 | 18.24 |  | 0
TRUE | 255 | D9 | Sample 45 | 18.46 |  | 0
TRUE | 255 | D10 | Sample 46 | 9.74 |  | 0
TRUE | 255 | D11 | Sample 47 | 9.73 |  | 0
TRUE | 255 | D12 | Sample 48 | 9.66 |  | 0
TRUE | 255 | E1 | Sample 49 | 26.56 |  | 0
TRUE | 255 | E2 | Sample 50 | 26.71 |  | 0
TRUE | 255 | E3 | Sample 51 | 26.68 |  | 0
TRUE | 255 | E4 | Sample 52 | 29.59 |  | 0
TRUE | 255 | E5 | Sample 53 | 29.49 |  | 0
TRUE | 255 | E6 | Sample 54 | 30.02 |  | 0
TRUE | 255 | E7 | Sample 55 | 18.84 |  | 0
TRUE | 255 | E8 | Sample 56 | 18.65 |  | 0
TRUE | 255 | E9 | Sample 57 | 18.6 |  | 0
TRUE | 255 | E10 | Sample 58 | 13.87 |  | 0
TRUE | 255 | E11 | Sample 59 | 13.62 |  | 0
TRUE | 255 | E12 | Sample 60 | 13.68 |  | 0
TRUE | 255 | F1 | Sample 61 | 22.98 |  | 0
TRUE | 255 | F2 | Sample 62 | 22.76 |  | 0
TRUE | 255 | F3 | Sample 63 | 22.82 |  | 0
TRUE | 255 | F4 | Sample 64 | 26.75 |  | 0
TRUE | 255 | F5 | Sample 65 | 26.53 |  | 0
TRUE | 255 | F6 | Sample 66 | 26.7 |  | 0
TRUE | 255 | F7 | Sample 67 | 26.97 |  | 0
TRUE | 255 | F8 | Sample 68 | 30.16 |  | 0
TRUE | 255 | F9 | Sample 69 | 31.85 |  | 0
TRUE | 255 | F10 | Sample 70 | 14.14 |  | 0
TRUE | 255 | F11 | Sample 71 | 13.92 |  | 0
TRUE | 255 | F12 | Sample 72 | 14.05 |  | 0
TRUE | 255 | G1 | Sample 73 | 18.88 |  | 0
TRUE | 255 | G2 | Sample 74 | 18.71 |  | 0
TRUE | 255 | G3 | Sample 75 | 18.88 |  | 0
TRUE | 255 | G4 | Sample 76 | 23.48 |  | 0
TRUE | 255 | G5 | Sample 77 | 23.54 |  | 0
TRUE | 255 | G6 | Sample 78 | 23.35 |  | 0
TRUE | 255 | G7 | Sample 79 | 27.36 |  | 0
TRUE | 255 | G8 | Sample 80 | 27.16 |  | 0
TRUE | 255 | G9 | Sample 81 | 27.25 |  | 0
TRUE | 255 | G10 | Sample 82 | 14.14 |  | 0
TRUE | 255 | G11 | Sample 83 | 14.16 |  | 0
TRUE | 255 | G12 | Sample 84 | 14.01 |  | 0
TRUE | 255 | H1 | Sample 85 | 16.93 |  | 0
TRUE | 255 | H2 | Sample 86 | 16.53 |  | 0
TRUE | 255 | H3 | Sample 87 | 16.8 |  | 0
TRUE | 255 | H4 | Sample 88 | 20.18 |  | 0
TRUE | 255 | H5 | Sample 89 | 20.02 |  | 0
TRUE | 255 | H6 | Sample 90 | 19.86 |  | 0
TRUE | 255 | H7 | Sample 91 | 24.04 |  | 0
TRUE | 255 | H8 | Sample 92 | 24.08 |  | 0
TRUE | 255 | H9 | Sample 93 | 24.07 |  | 0
TRUE | 255 | H10 | Sample 94 | 32.79 |  | 0
TRUE | 255 | H11 | Sample 95 | 33.84 |  | 0
TRUE | 65280 | H12 | Sample 96 |  |  | 0

## Tm
Experiment: 20190227_ppk_IA_IIA_IIC_Pancho Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Tm1 | Tm2 | Status
TRUE | 16744448 | A1 | Sample 1
TRUE | 16744448 | A2 | Sample 2
TRUE | 16744448 | A3 | Sample 3
TRUE | 255 | A4 | Sample 4 | 84.44
TRUE | 255 | A5 | Sample 5 | 84.4
TRUE | 255 | A6 | Sample 6 | 84.36
TRUE | 255 | A7 | Sample 7 | 88.27
TRUE | 255 | A8 | Sample 8 | 88.36
TRUE | 255 | A9 | Sample 9 | 88.47
TRUE | 255 | A10 | Sample 10 | 87.31
TRUE | 255 | A11 | Sample 11 | 86.8
TRUE | 255 | A12 | Sample 12 | 87.44
TRUE | 255 | B1 | Sample 13 | 84.28
TRUE | 255 | B2 | Sample 14 | 69.86
TRUE | 255 | B3 | Sample 15 | 84.29
TRUE | 255 | B4 | Sample 16 | 84.39
TRUE | 255 | B5 | Sample 17 | 84.43
TRUE | 255 | B6 | Sample 18 | 84.43
TRUE | 255 | B7 | Sample 19 | 88.3
TRUE | 255 | B8 | Sample 20 | 88.36
TRUE | 255 | B9 | Sample 21 | 88.48
TRUE | 255 | B10 | Sample 22 | 87.32
TRUE | 255 | B11 | Sample 23 | 87.34
TRUE | 255 | B12 | Sample 24 | 87.37
TRUE | 255 | C1 | Sample 25 | 84.24
TRUE | 255 | C2 | Sample 26 | 84.17
TRUE | 255 | C3 | Sample 27 | 84.02
TRUE | 255 | C4 | Sample 28 | 84.44
TRUE | 255 | C5 | Sample 29 | 84.44
TRUE | 255 | C6 | Sample 30 | 84.47
TRUE | 255 | C7 | Sample 31 | 87.14
TRUE | 255 | C8 | Sample 32 | 87.18
TRUE | 255 | C9 | Sample 33 | 87.31
TRUE | 255 | C10 | Sample 34 | 87.33
TRUE | 255 | C11 | Sample 35 | 87.36
TRUE | 255 | C12 | Sample 36 | 87.39
TRUE | 255 | D1 | Sample 37 | 84.17
TRUE | 255 | D2 | Sample 38 | 84.24
TRUE | 255 | D3 | Sample 39 | 84.28
TRUE | 255 | D4 | Sample 40 | 88.12
TRUE | 255 | D5 | Sample 41 | 88.03
TRUE | 255 | D6 | Sample 42 | 88.18
TRUE | 255 | D7 | Sample 43 | 87.33
TRUE | 255 | D8 | Sample 44 | 87.41
TRUE | 255 | D9 | Sample 45 | 87.54
TRUE | 255 | D10 | Sample 46 | 87.37
TRUE | 255 | D11 | Sample 47 | 87.37
TRUE | 255 | D12 | Sample 48 | 87.41
TRUE | 255 | E1 | Sample 49 | 84.27
TRUE | 255 | E2 | Sample 50 | 84.29
TRUE | 255 | E3 | Sample 51 | 84.3
TRUE | 255 | E4 | Sample 52 | 88.25
TRUE | 255 | E5 | Sample 53 | 88.1
TRUE | 255 | E6 | Sample 54 | 88.24
TRUE | 255 | E7 | Sample 55 | 87.33
TRUE | 255 | E8 | Sample 56 | 87.37
TRUE | 255 | E9 | Sample 57 | 87.49
TRUE | 255 | E10 | Sample 58 | 85.73
TRUE | 255 | E11 | Sample 59 | 85.64
TRUE | 255 | E12 | Sample 60 | 85.72
TRUE | 255 | F1 | Sample 61 | 84.3
TRUE | 255 | F2 | Sample 62 | 84.33
TRUE | 255 | F3 | Sample 63 | 84.33
TRUE | 255 | F4 | Sample 64 | 88.22
TRUE | 255 | F5 | Sample 65 | 88.25
TRUE | 255 | F6 | Sample 66 | 88.15
TRUE | 255 | F7 | Sample 67 | 87.11
TRUE | 255 | F8 | Sample 68 | 87.12
TRUE | 255 | F9 | Sample 69 | 87.16
TRUE | 255 | F10 | Sample 70 | 85.69
TRUE | 255 | F11 | Sample 71 | 85.66
TRUE | 255 | F12 | Sample 72 | 85.73
TRUE | 255 | G1 | Sample 73 | 84.34
TRUE | 255 | G2 | Sample 74 | 84.34
TRUE | 255 | G3 | Sample 75 | 84.34
TRUE | 255 | G4 | Sample 76 | 88.26
TRUE | 255 | G5 | Sample 77 | 88.3
TRUE | 255 | G6 | Sample 78 | 88.31
TRUE | 255 | G7 | Sample 79 | 87.04
TRUE | 255 | G8 | Sample 80 | 87.16
TRUE | 255 | G9 | Sample 81 | 87.24
TRUE | 255 | G10 | Sample 82 | 85.72
TRUE | 255 | G11 | Sample 83 | 85.73
TRUE | 255 | G12 | Sample 84 | 85.76
TRUE | 255 | H1 | Sample 85 | 84.36
TRUE | 255 | H2 | Sample 86 | 84.42
TRUE | 255 | H3 | Sample 87 | 84.38
TRUE | 255 | H4 | Sample 88 | 88.2
TRUE | 255 | H5 | Sample 89 | 88.33
TRUE | 255 | H6 | Sample 90 | 88.24
TRUE | 255 | H7 | Sample 91 | 87.14
TRUE | 255 | H8 | Sample 92 | 87.22
TRUE | 255 | H9 | Sample 93 | 87.27
TRUE | 255 | H10 | Sample 94 | 87.31
TRUE | 255 | H11 | Sample 95 | 87.37
TRUE | 16744448 | H12 | Sample 96